## Sheet1
Ref | Item | Rating | Comments
1 | Have Directors appointed in writing EPAs for all equipment/areas generating strong EMFs?
1.1 | Appointment of EPAs
1.2 | Qualifications and experience of EPAs?
1.3 | STFC SHE Group Register of EPAs
2 | Have EPAs provided advice to management?
2.1 | Advice provided on need for exposure assessments?
2.2 | Advice provided on implementation of controls to restrict exposures?
3 | Have documented EMF surveys been undertaken for all equipment generating strong EMFs? Have these been repeated following significant change/modification or maintenance of the equipment?
3.1 | Routine surveys
3.2 | Surveys repeated following maintenance
3.3 | Surveys repeated following change/modification
4 | Is EPA EMF survey meter within calibration date and calibrated to a recognised EMF standard?
4.1 | Instrument suitable?
4.2 | Instrument calibration
5 | Responsibilities of managers for assessment of exposure and risk
5.1 | Have exposure assessments been carried out?
5.2 | Have EMF-specific risk assessments been carried out for equipment generating fields above the action levels?
5.3 | Have EMF-specific risk assessments been carried out for employees at particular risk?
6 | Responsibilities of managers for equipment
6.1 | Has EMF been considered before new equipment brought on site or operated?
6.2 | Has the EPA been consulted before new equipment is brought on site or operated?
6.3 | For equipment designed and constructed on site, is there evidence that EMF has been considered?
6.4 | Has the EPA been consulted over equipment constructed on site?
7 | Responsibilities of managers to restrict exposure to fields that exceed the action levels
7.1 | Have engineering controls been implemented to restrict exposures in excess of the action levels?
7.2 | Have local operating instructions been issued for equipment generating fields in excess of the action levels?
7.3 | Have staff been made aware of hazards from strong fields?
7.4 | Have suitable warning signs been posted for fields in excess of the action levels?
7.5 | Have instructions/information been provided for visitors / contractors?
8 | Responsibilities of managers to ensure protection of employees at particular risk
8.1 | Have access restrictions been implemented for employees at particular risk where fields exceed the reference levels?
8.2 | Have identified employees at particular risk been advised to seek a consultation with Occupational Health?
8.3 | Have instructions/information regarding risks for those at particular risk been provided to visitors / contractors?
9 | Management of indirect effects
9.1 | Have suitable controls been implemented for risks to safety from indirect effects?
10 | Have incidents involving EMF been reported to SHE Group?
11 | Responsibilities of staff
11.1 | Do staff comply with local instructions?
11.2 | Do staff take action to ensure visitors/users/contractors comply with local instructions?
11.3 | Do staff ensure that visitors/users/ contractors are aware of access restrictions for those at particular risk?
12 | Have medical assessments been conducted for all staff exposed to EMFs above the action levels?