## Sheet2
Ref | Item | Rating | Comments
1. (4.1.3) | As appropriate has the Director appointed in writing and recorded in the SHE Directory an Authorising Engineer (AE)?
2. (4.2.2) | Are the AE’s out of hours contact details listed in site emergency plans?
3. (4.2.6) | Has the AE appointed APs for the areas they are responsible for in writing and recorded these appointments in the SHE Directory?
4. (4.2.8) | Do APs clearly understand which electrical systems they are responsible for, it is detailed in their letters of appointment?
5. (4.2.10) | Has AE reviewed the competence of their appointed APs?
6. (4.2.11) | Is there evidence that the AE is communicating to their APs relevant electrical safety information, for example defects, recalls etc.
7. (4.2.12) | Has AE established accurate documentation for their electrical systems, drawings, schematics etc.?
8. (4.2.14) | Is there evidence that the AE has investigated electrical incidents within their area of responsibility?
9. (4.2.15/16) | Are electrical installations suitably supported by hazard warning signs and as appropriate emergency hazard warning posters?
10. (4.2.17) | Are there any instances of live working or working near live HV conductors? What written supporting documentation is available?
11. (4.2.20) | Is there evidence of statutory fixed wiring testing of electrical distribution systems?
12. (4.3.4) | Are all Nominated Persons (NPs) authorised by the AP aware of SHE Code 34?
13. (4.3.9) | Are there any examples of instances where APs have informed their AE of electrical defects? Has the AE followed up and investigated these?
14. (4.3.12) | Is there evidence of cable detection surveys being undertaken prior to works in their areas of responsibility?
15. (4.3.7) | Is there evidence that electrical PPE including earthing and test equipment has been maintained and as appropriate calibrated and inspected?
16. (4.3.16/17) | Have all NP been appointed in writing by the AP, detailing the scope of their appointment, and their appointment recorded in the SHE Directory?
17. (4.3.18) | Have APs reviewed the competence of NPs and at what frequency?
18. (4.3.19) | Has the AP approved for NPs to undertake specific tasks or specific documented standing instruction or written instructions?
19. (4.4.4) | Has the NP with the support of AP undertaken a documented risk assessment of planned electrical works?
20. (4.4.5) | Is there evidence that the NP has undertaken work outside the scope of their letter of appointment?
21. (4.3.5) | Demonstrate that electrical PTW have been issued by the AP and recorded in EDOR?
22. (4.7.1) | Have contract supervising officers for electrical works ensured that risk assessments and methods statements have been obtained from electrical contractors?
23. (4.7.2) | Is there evidence that the competence of contract electrical workers has been assessment by an AP or NP prior to work commencing?
24. (4.9.1) | Are electrical safety incidents reports to AEs by SHE Group?
25. (4.3.5) | Demonstrate that safety programmes have been written / approved and completed by the AP and recorded in EDOR?