## Sheet2
Ref | Item | Rating | Comments
1 (4.1.2) | As appropriate has the Director appointed in writing and recorded in the SHE Directory an Electrical Authorising Engineer (AE)?
2 (4.2.3) | Does the AE undertake electrical work as an Electrical Authorised Person (AP) and has this work been audited by an independent AE?
3. (4.2.2) | Are the AE’s out of hours contact details listed in site emergency plans?
4 (4.2.4) | Has the AE appointed APs for the areas they are responsible for in writing and recorded these appointments in the SHE Directory?
5 (4.2.5/6) | Do APs clearly understand which electrical systems they are responsible for, it is detailed din their letters of appointment?
6 (4.2.8) | Has AE reviewed the competence of their appointed APs at least 3 yearly?
7 (4.2.9) | Is there evidence that the AE is communicating to their APs relevant electrical safety information, for example defects, recalls etc.
8 (4.2.10) | Has AE established accurate documentation for their electrical systems, drawings, schematics etc.?
9 (4.2.12) | Is there evidence that the AE has investigated electrical incidents within their area of responsibility?
10 (4.2.13/14) | Are electrical installations suitably supported by hazard warning signs and as appropriate emergency hazard warning posters?
11 (4.2.15) | Are there any instances of live working or working near live HV conductors? What written supporting documentation is available?
12 (4.2.18) | Is there evidence of statutory fixed wiring testing of electrical distribution systems?
13 (4.3.4) | Are all Electrical Nominated Persons (NPs) authorised by the AP aware of SHE Code 34?
14 (4.3.9) | Are there any examples of instances where APs have informed their AE of electrical defects? Has the AE followed up and investigated these?
15 (4.3.12) | Is there evidence of cable detection surveys being undertaken prior to works in their areas of responsibility?
16 (4.3.7) | Is there evidence that electrical PPE including earthing and test equipment has been maintained and as appropriate calibrated and inspected?
17 (4.3.14) | Have all NP been appointed in writing by the AP, detailing the scope of their appointment, and their appointment recorded in the SHE Directory?
18 (4.3.16) | Have APs reviewed the competence of NPs at least 3 yearly?
19 (4.3.17) | Has the AP approved for NPs to undertake specific tasks specific documented standing instruction or written instructions?
20 (4.4.3) | Has the NP with the support of AP undertaken a documented risk assessment of planned electrical works?
21 (4.4.4) | Is there evidence that the NP has undertaken work outside the scope of their letter of appointment?
22 (4.5.1) | Ensure that a suitable risk assessment and method statement are available prior to commencing work?
23 (4.7.1) | Have contract supervising officers for electrical works ensured that risk assessments and methods statements have been obtained from electrical contractors?
24 (4.7.3) | Is there evidence that the competence of contract electrical workers has been assessment by an AP or NP prior to work commencing?
25 (4.9.1) | Are electrical safety incidents reports to AEs by SHE Group?